Site Health and Safety Assessment

This assessment is to be performed by a competent individual able to assess the items listed and is intended as a useful tool to monitor and improve the safety of our sites.  The scoring of these reports should always be agreed with the Construction Safety Manager / Advisor, prior to issuing to the contractor.

| Project Number: | Project Title: | Date of Inspection: |
| --- | --- | --- |
| Contractor: | H&S Manager/Site Manager: | Mobile Number: |

| 1 | Security and Compliance | Yes | No | N/A | Comments/Observations | RAG Rating |
| --- | --- | --- | --- | --- | --- | --- |
| 1.1 | ## Register of People on site - Being used, monitored? |  |  |  |  |  |
| 1.2 | ## Safety Inductions - Being done, recorded? |  |  |  |  |  |
| 1.3 | ## Register of CSCS Card holders maintained? |  |  |  |  |  |
| 1.4 | ## On Site Supervisors – check for appropriate training certification? |  |  |  |  |  |
| 1.5 | ## Hoarding - Suitable for local environment e.g. site security, in good condition, painted in ICL colours? |  |  |  |  |  |
| 2 | Workforce | Yes | No | N/A | Comments/Observations | RAG Rating |
| 2.1 | ## PPE Compliance (hat, hi-viz, boots, hand and eye protection) - Worn correctly and as per RAMS? |  |  |  |  |  |
| 3 | Fire – Escape Routes/Equipment | Yes | No | N/A |  |  |
| 3.1 | ## Barriers / Obstructions - Clear routes with no trailing leads? |  |  |  |  |  |
| 3.2 | Signage including evacuation plan and emergency contact numbers - Clear, visible? |  |  |  |  |  |
| 3.3 | Lighting – Adequate for task / location? |  |  |  |  |  |
| 3.4 | Fire Points - Visible, correct extinguishers? |  |  |  |  |  |
| 4 | Site Generally | Yes | No | N/A | Comments/Observations | RAG Rating |
| 4.1 | ## Housekeeping / Tidiness - Trip hazards, hole protection, trailing cables, materials storage suitable? |  |  |  |  |  |
| 4.2 | ## Storage of M&E equipment including pipes, unistrut, fittings including screws, nuts, bolts, etc. – Pipework and unistrut off the floor on movable racks? M&E fittings and fixtures in bins / movable cupboard? |  |  |  |  |  |
| 4.3 | 110 v power - Used correctly? Does equipment have up to date PAT test records? |  |  |  |  |  |
| 4.4 | Scaffolding / Ladders / Steps - Properly erected, tied, PTW for steps issued? |  |  |  |  |  |
| 4.5 | Barriers / Signage including excavations - e.g. visible, relevant, clean |  |  |  |  |  |
| 4.6 | Traffic Management - Adequate separation – banksman available? |  |  |  |  |  |
| 4.7 | Use of gas on Medical Campuses – Acetylene is not allowed on site, propane to be used as a safer alternative, permit in place? |  |  |  |  |  |
| 5 | Welfare Facilities | Yes | No | N/A | Comments/Observations | RAG Rating |
| 5.1 | Site Cabin Set up - Suitable goods access, lockers available on site? |  |  |  |  |  |
| 5.2 | Cleanliness - i.e. toilets, kitchen, drying room and locker areas |  |  |  |  |  |
| 6 | Environmental/Occupational Health | Yes | No | N/A | Comments/Observations | RAG Rating |
| 6.1 | Site Waste - Removal and disposal strategy agreed, controlled on site, skip location agreed, tidy and controlled? |  |  |  |  |  |
| 6.2 | CoSHH - Materials stored in safe manner with segregated waste bins available |  |  |  |  |  |
| 6.3 | Manual Handling - Mechanical aids used as required? Appropriate lifting techniques being applied? |  |  |  |  |  |
| 6.4 | ## Noise - Risk assessment available, hearing protection, noise control zones established, monitor and record dBA levels? |  |  |  |  |  |
| 6.5 | Dust - Adequately controlled, damping down methods in use, suitable masks worn? |  |  |  |  |  |
| 6.6 | Vibration - Risk assessment available, controls established, suitable PPE being worn? |  |  |  |  |  |
| 7 | Documentation | Yes | No | N/A | Comments/Observations | RAG Rating |
| 7.1 | ## F10 - Displayed and available on site? |  |  |  |  |  |
| 7.2 | H&S Plan - Agreed and on site? |  |  |  |  |  |
| 7.3 | H&S Policy & Manuals – Available? |  |  |  |  |  |
| 7.4 | Method Statement/Risk Assessment File - Available? |  |  |  |  |  |
| 7.5 | Site Rules - Displayed? |  |  |  |  |  |
| 7.6 | Muster Point - Displayed? |  |  |  |  |  |
| 7.7 | H&S Poster - Displayed? |  |  |  |  |  |
| 8 | COVID – 19 Compliance |  |  |  |  |  |
| 8.1 | Travelling to work – Are operatives coming to site on own vehicles? |  |  |  |  |  |
| 8.2 | Site access and egress points – Has turnstile with fingerprint activation been deactivated? |  |  |  |  |  |
| 8.3 | Hand washing – Are there additional washing facilities, hand sanitizer etc? |  |  |  |  |  |
| 8.4 | Toilet facilities- Are 2m social distance rules adhered to in the toilet facilities? |  |  |  |  |  |
| 8.5 | Canteen and rest areas – Are workers sitting separately and observing 2m social distance? |  |  |  |  |  |
| 8.6 | Changing Facilities & Dry room – Are 2m rules adhered to with enhanced cleaning regime? |  |  |  |  |  |
| 8.7 | Work planning to avoid close working- Are workers working 2m apart? |  |  |  |  |  |
| 8.8 | Others |  |  |  |  |  |

Inspection Findings

| N/A |  |
| --- | --- |

SCORE=

| Completed by: Oluseyi Oduntan | Job Title: | Date: |
| --- | --- | --- |
| Issue to Site Management: |  |  |
| Copied to relevant stakeholders: |  |  |