## RDS - Space
ROOM DATA SHEET - SPACE
Project Number |  |  |  | Project Title
Building |  |  |  | Sheet
Floor/Level |  |  |  | Revision
Room Number |  |  |  | Author
Room Name |  |  |  | Date
Drawing Number |  |  |  | User Representative
Primary Data | PRIMARY FUNCTION OF ROOM & PROCESSES UNDERTAKEN |  | General Laboratory Facility
CHEMICALS USED
Containment level (ACDP)
Containment level (SAPO)
Clean Room Classification
Special/hazardous conditions
Preferred room adjacency
Lobby to lab required
Population |  | Nos. occupants in normal use |  | Max nos. in room
Health & Safety / Fire
Wash-station by door |  | with Emergency Eye shower |  | Safety Spectacles storage | White coat/gown hook
Heat Detector |  | Smoke Detector |  | Air flow monitor | Drager Gas alarm
Sprinkler system |  | Fire Exiting. back board |  | Other Suppression system | Other/Special
Fire Alarm Sounder
In / Out
local delivery holding area |  | local collection holding |  | floor space & racking | floor space for Liq Ar
|  | area |  | for gas bottles | Dewar
Waste Disposal |  | Solid Non-toxic |  | Laundry | Other/Special
Biological material |  | Chemical material |  | Flammable material | Radioactive material
Generator of |  | Noise |  | Vibration | Dust
Static |  | Radiation |  | Odour | Heat
Other
Protection required from |  | Noise |  | Vibration | Dust
Static |  | Radiation |  | Wet or damp | Heat
Other
Structural requirements |  | Special floor loading |  | Recessed area of floor | Raised access floor
|  | Soffit-mounted equipment |  | Bunded threshold
Doors
SINGLE (1010SO) |  | LEAF&HALF (1460SO) |  | DOUBLE (1800SO) | Height (+2100SO)
Fully-glazed |  | Internal blind to glazed door |  | Vision Panel | Automatic Door opener
|  | Lobby door: 'Do not Enter' sign |  | Interlocked lab/lobby doors | Full Height ~2600
Windows/Screens/Blinds
Natural daylight |  | Window open for cleaning only |  | Glare control blind to window | Black-out blind to window
Glazed internal screen |  | Blind to internal screen |  | Obscure glass to window | Obscure glass to screen
Finishes
WALL |  | Paint to p-board |  | Sealed surface eg vinyl sheet | Other/Special
CEILING |  | Paint to p-board soffit lining |  | Suspended with metal trays | Other/Special
FLOOR |  | Safety vinyl/coved skirting |  | Anti Static vinyl/coved skirting | Lino/coved skirting
|  | Vinyl/coved skirting |  | Epoxy/epoxy coved skirting | Other/Special
Special Requirements to Room |  | Structural
Acoustic
Access
|  | Extract |  | 1 No. Fume cupboard required.
|  | Other |  | Airlock required for temperature and humidity control
Other comments
KEY
Supplied & Fixed by Contractor within the Contract |  |  | A
Supplied by Client, Fixed by Contractor within the Contract |  |  | B
Supplied & Installed by Client outside the Contract |  |  | C

## RDS - Furniture
ROOM DATA SHEET - LABORATORY FURNITURE
Project Number |  |  |  | Project Title
Building |  |  |  | Sheet
Floor/Level |  |  |  | Revision
Room Number |  |  |  | Author
Room Name |  |  |  | Date
Drawing Number |  |  |  | User Representative
Group A, B or C
WORKSURFACE FINISH |  | Solid Laminate (Trespa) |  | Solid Epoxy Resin | Stainless Steel (grade 316)
|  | Ceramic |  | Stone (Balance) Bench | Postformed Laminate
EDGING TO BENCH |  | Chamfer edge |  | Chamfer edge with drip groove | Marine lipping
Other/Special
BENCH SUPPORT SYSTEM |  | Suspension frame (cantilever) |  | H-frame (with front legs) | Mobile bench
BENCH HEIGHTS |  | +950mm FFL |  | +750mm FFL for write-up | Mobile adjustable height bench
Other/Special
SHELVING |  | Solid Laminate (Trespa) |  | Stainless Steel (grade 316) | Laminate Faced
|  | Solid Epoxy Resin |  |  | Other/Special
SHELF HEIGHTS |  | 1 shelf (+1550) |  | 2 shelves (+1550 / +1850) | Other/Special
EDGING TO SHELF |  | Flush |  | Chamfer edge with drip groove | Marine lipping
Other/Special
UNDERBENCH SYSTEM |  | Suspended under bench |  | Mobile under bench | Floor standing on plinth
UNDERBENCH CUPBOARDS |  | Single unit |  | Double unit | with shelf
CUPBOARD/DRAWER UNITS |  | Single unit with drawer |  | Double unit with drawer | Sink Unit
CUPBOARD DOOR |  | Solid door to cupboard |  | Glass door to cupboard | Other/Special
CUPBOARD LINING |  | Ventilated solvent lining |  | Acid resistant lining | Flammable materials lining
Other/Special
UNDERBENCH DRAWERS |  | Single unit |  | Double unit | % Cupboard to Drawer units
OVERBENCH CUPBOARDS |  | Single unit |  | Double unit | with shelf
|  | Solid door to cupboard |  | Glass door to cupboard | Other/Special
TALL CUPBOARD (2100mm) |  | Single unit |  | Double unit | with shelf
|  | Solid door to cupboard |  | Glass door to cupboard | Other/Special
WALL ADJUSTABLE SHELVING |  | Full wall height (to +2100mm) |  | Spec height (e.g. 1200,1500) | 300mm wide
SHELF FINISH |  | Laminate-faced |  | Solid laminate (Trespa) | Solid epoxy resin
EDGING TO SHELF |  | Chamfer edge with drip groove |  | with edge upstand/lipping | Square edged
BRACKET |  | Polyester or Epoxy PC Steel |  | Stainless Steel (grade 316) | Stove Enamel Steel
Other/Special
WALL BOARDS |  | Magnetic whiteboard |  | Projection screen | Pinboard
|  | (1200x900) |  |  | Other/Special
SINK TYPE |  | Single bowl + drainer |  | Double bowl + double drainer | Drip Cup
SINK MATERIAL |  | Stainless Steel (grade 316) |  | Solid Epoxy Resin | Ceramic
SINK SITING |  | Sit on |  | Set under | Floor Standing
SINK ACCESSORIES |  | Perspex side screens |  | Polypropylene drip rack | Overflow waste plug
WASTE |  | Standard waste/dilution pot |  | Glass trap / waste (radio) | Vulcathene
LAB WASHSTATION |  | Basin with HW & CW |  | Elbow-taps | IR sensor taps
LAB STOOLS |  | Nos. lab stools req
Other comments
KEY
Supplied & Fixed by Contractor within the Contract |  |  | A
Supplied by Client, Fixed by Contractor within the Contract |  |  | B
Supplied & Installed by Client outside the Contract |  |  | C