## Sheet1 (4) (hidden)
Safety Cabinet Monthly Airflow Measurements |  |  |  |  | CLASS II CABINET
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II cabinets by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken by are taken on all Class II cabinets by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. No individual measurement shall differ from the mean by more than 20%.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data routine reviewed by Facility Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
0.5 | 0.55 | 1.6 | 0.88333 | 0.70667 | 1.06 | YES | 0.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.46875 | 0.375 | 0.5625 | YES
Any red readings (out of range), stop use, inform others, report to Operation/Suite Manager | [5 empty] | If YES, stop use, inform others, report to Operation/Suite Manager | Any red readings (out of range), stop use, inform others, report to Operation/Suite Manager | [10 empty] | If YES, stop use, inform others, report to Operation/Suite Manager
In event of readings being out of range:
1) Reviewed by Operations/Suite Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6

## Sheet1 (3) (hidden)
Safety Cabinet Monthly Airflow Measurements |  |  |  |  | CLASS II CABINET
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II cabinets by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken by are taken on all Class II cabinets by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. No individual measurement shall differ from the mean by more than 20%.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data routine reviewed by Facility Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
0.5 | 0.55 | 1.6 | 0.88333 | 0.70667 | 1.06 | YES | 0.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.46875 | 0.375 | 0.5625 | YES
Any red readings (out of range), stop use, inform others, report to Operation/Suite Manager | [5 empty] | If YES, stop use, inform others, report to Operation/Suite Manager | Any red readings (out of range), stop use, inform others, report to Operation/Suite Manager | [10 empty] | If YES, stop use, inform others, report to Operation/Suite Manager
In event of readings being out of range:
1) Reviewed by Operations/Suite Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6

## Sheet1 (2) (hidden)
Safety Cabinet Monthly Airflow Measurements |  |  |  |  | CLASS II CABINET
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II cabinets by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken by are taken on all Class II cabinets by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. No individual measurement shall differ from the mean by more than 20%.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data routine reviewed by Facility Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
0.5 | 0.55 | 1.6 | 0.88333 | 0.70667 | 1.06 | YES | 0.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.46875 | 0.375 | 0.5625 | YES
Any red readings (out of range), stop use, inform others, report to Operation/Suite Manager | [5 empty] | If YES, stop use, inform others, report to Operation/Suite Manager | Any red readings (out of range), stop use, inform others, report to Operation/Suite Manager | [10 empty] | If YES, stop use, inform others, report to Operation/Suite Manager
In event of readings being out of range:
1) Reviewed by Operations/Suite Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6

## January
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6

## February
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## March
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## April
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## May
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## June
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## August
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## July
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## September
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## October
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## November
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6

## December
Class II Microbiological Safety Cabinet Monthly Airflow Measurements
The inflow and downflow velocities must be measured on a monthly basis using a calibrated anemometer.
The inflow measurements are taken on Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the plane of the aperture, make air velocity measurements at 3 positions, in the centre horizontal plane. The measured inflows at all points must be over 0.4 m/sec.
The downflow measurements are taken on all Class II microbiological safety cabinets (MSC) by running the cabinet and, with the anemometer in the horizontal plane 100 mm above the top edge of the working aperture, make air velocity measurements at a minimum of 8 positions, namely 4 along a line one quarter of the depth of the working space forward of the rear wall, and four along a line the same distance behind the front window. The measured downflows at all points must be between 0.25 and 0.5 m/sec. For large (1800mm wide) Class I cabinets, please use F019a- Class I Large MSC Monthly Airflow Measurements. For Class I Standard cabinets, please use F019b- Class I Standard MSC Monthly Airflow Measurements.
CLASS II CABINET
All three inflow measurements must be over 0.4m/sec
All eight downflow measurements must be between 0.25 and 0.5m/sec
No values should differ by 20% from average
Anemometer positions
INFLOW should be in line with opening and 10cm from any edges | [6 empty] | DOWNFLOW should be 8 readings in equal spacing, 10cm above glass sash bottom
| INFLOW: | [5 empty] | DOWNFLOW:
Lab: | [7 empty] | Data reviewed by Facility/ Lab Manager?
Date: |  |  |  | [dd/mm/yyyy]
Measured By: |  |  |  | [name] |  |  |  | Date of review
INFLOW (m/sec) (as 0.xx) |  |  | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average? | Downflow (m/sec) (as 0.xx) | [7 empty] | Average | Average -20% | Average +20% | Any readings greater than +/- 20% from average?
1st reading | 2nd reading | 3rd reading |  |  |  |  | 1st reading | 2nd reading | 3rd reading | 4th reading | 5th reading | 6th reading | 7th reading | 8th reading
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [5 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | Any cells that remain red after entering the reading indicate that the value is out of range: stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager. | [10 empty] | If the cell above indicates that any reading is greater +/- 20% from the avearage, the cell will read "YES". Stop using the MSC, label it as "out of use", inform others, report to Facility/Lab Manager.
In event of readings being out of range:
1) Reviewed by Facility/Lab Manager?
2) Actions carried out/required?
3) Safe to resume use?
4) Date and sign:
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6
1
3
2
1
7
3
2
8
4
5
6