RISK ASSESSMENT FOR AN ACTIVITY INVOLVING THE USE OF HAZARDOUS CHEMICALS

as required under the CONTROL OF SUBSTANCES HAZARDOUS TO HEALTH REGULATIONS (COSHH) and the DANGEROUS SUBSTANCES AND EXPLOSIVE ATMOSPHERES REGULATIONS (DSEAR)

This form aids in assessing the hazards associated with the use of chemicals and the subsequent application of suitable controls. Guidance on completion of the form can be found on Safety Department website.

The sections below correspond approximately to the sections in the Guidance Note.

- The form does not address the risks associated with biological agents or ionising radiation – other Safety Department forms exist for this purpose.

- With respect to DSEAR, this form may be used to assess risks arising from small scale laboratory operations where hazard zoning is not usually applicable and the controls required largely mirror those of COSHH.

- This form is not suitable for assessing flammability and explosion risks arising from large scale operations (including pilot scale) where hazard zoning is necessary – this will require a more detailed assessment.

It is the responsibility of the person directing the research i.e. the Principal Investigator to ensure that risk assessments are carried out, remain valid and that the control measures identified are applied.

**Before undertaking workplace risk assessments, assessors should complete Risk Assessment Foundation Training (RAFT)**

| PERSON RESPONSIBLE FOR THIS WORK (THE PRINCIPAL INVESTIGATOR) |  |  |
| --- | --- | --- |
| Name: |  | Position: |
| Department/ Section: | Division: | Faculty: |

| PERSON CONDUCTING THIS ASSESSMENT |  |
| --- | --- |
| Name: | Position: |
| Department/ Section: | Date risk assessment undertaken: |

| Review history The person responsible must ensure that this risk assessment remains valid |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Initial Review | Review 1 | Review 2 | Review 3 |
| Due date |  |  |  |  |
| Date conducted |  |  |  |  |
| Conducted by |  |  |  |  |

| THE ACTIVITY or PROCEDURE |  |
| --- | --- |
| Title: | Assessment reference No: |
| Description (describe the procedure step by step or attach a Standard Operating Procedure): |  |

1. HAZARDS AND RISKS

1.1 HAZARD EVALUATION & RISK DETERMINATION

List each of the chemical substances used in the activity or procedure in the table below and use this matrix to determine the risk level for each one.

| (A) Health Hazard | (B) Dustiness or *Volatility | (C) **Quantity | Score |
| --- | --- | --- | --- |
| Low Hazard Statements: H303; 305 H313; 315; 316 H320 H336 EUH066 | Low Solids: Pellet-like solids that do not break up. Little or no dust observed during use. Solids forming large crystals Liquids: Boiling point > 150oC | Small <1g (ml) | 1 |
| Medium Hazard Statements: H301; H302; H304 H311; H312; H314; H317 H318; H319 H332; H335 H371; H373 | Medium Solids: Smaller crystalline or granular solids. Minimal dust, or if any dust is seen it settles out quickly. Liquids: Boiling point between 50 and 150oC | Medium 1 to 100g (ml) | 2 |
| High Hazard Statements: H300 H310 H330; H331; H334 H340; H341 H350; H351 H360; H361; H362 H370; H372 EUH070 | High Solids: Fine, light powders. Dust can be seen during use and possibly remains airborne for several minutes. Liquids: Boiling point < 50oC | Large > 100g (ml) | 3 |

Multiply (A)x(B)x(C) to estimate overall risk level:  ≤ 7 Low;  8-11 Medium;  ≥ 12 High

* For purposes of calculation, if a chemical has more than one risk phrase, use the one(s) with the highest health hazard score

** When stating quantity, this should consider the quantity in the stock bottle as well as the quantity of the aliquots, since loss of containment from the entire stock bottle whilst removing aliquots may represent the greatest risk.

| Substance | Route of exposure | Hazard Statement(s)* (see safety data sheet) Please include all applicable | ‡WEL | Health Hazard Score | Dustiness / Volatility Score | Quantity Score | Overall Risk Level L/M/H |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Inhalation (In) |  |  |  |  |  |  |
|  | Ingestion (Ig) |  |  |  |  |  |  |
|  | Skin contact (Sk) |  |  |  |  |  |  |
|  | Penetration (P) |  |  |  |  |  |  |
|  | Eye splash (Es) |  |  |  |  |  |  |

‡Workplace Exposure Limit (if one has been assigned - see safety data sheet) – usually in ppm for vapours or mg/m3 for particulates.

1.2 PROCESS FACTORS INFLUENCING THE RISK OF EXPOSURE

| Are there any process factors that influence the route of exposure (See Section 2.2.10)? |  |  |  |
| --- | --- | --- | --- |
| Weighing | Pipetting | Filtering | Elevated Temperature |
| Shaking / Mixing | Centrifugation | Use of Sharps | High Pressure |
| Other |  |  |  |

1.3 IDENTIFICATION OF THOSE AT RISK OF EXPOSURE

Are there any substances listed in this activity having the Hazard Statements H360, 361 or 362 (those affecting women of child-bearing age)?

| Yes | No | If ‘Yes’: - any females working with the substance must be informed that the substance(s) present a reproductive toxicity hazard. - should they fall pregnant or are trying for pregnancy, then they have the option of contacting Occupational Health for a detailed confidential health assessment. - they should also avoid being involved in any large-scale spillage clean up in the event that such an incident arises. |
| --- | --- | --- |

Are there any substances listed in this activity having the Hazard Statement H317 (skin sensitisers)?

| Yes | No | If ‘Yes’: - ensure these substances are never handled without gloves and all other skin areas are covered during handling. |
| --- | --- | --- |

Are there any substances listed in this activity having the Hazard Statements H334, H340, 341, 350 or 351 (respiratory sensitisers, substances causing genetic defects or cancer)?

| Yes | No | If ‘Yes’, this risk assessment once completed, must be submitted to the Safety Department (safetydept@imperial.ac.uk) for review before work is carried out. Information will be uploaded to a central database for record keeping purposes. |
| --- | --- | --- |

If ‘Yes’ is answered to either of the above questions, indicate the frequency and duration of use

|  | Frequency (how often is the substance used) e.g. every day; once a month etc. |
| --- | --- |
|  | Duration (how long is possible exposure likely to be) e.g. five minutes; one hour etc. |

Are there any external factors that increase the risks associated with exposure to any of these substances e.g. contact lens wearing?

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

Are there any personnel other than laboratory workers who may be at risk from exposure? (e.g. maintenance workers, cleaners etc.)

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

1.4 SUBSTANCES SUBJECT TO OTHER LEGISLATION

Are there any substances involved in this activity that are subject to either the Chemical Weapons Act or the

Anti-terrorism, Crime and Security Act? You must keep a record of usage for Schedule 2 chemical weapons precursors as you will be contacted by the Safety Department on an annual basis prior to the College making its annual declaration to the Department of Business, Energy and Industrial Strategy.

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

Are there any substances involved in this activity that are listed by the Home Office as drugs precursors?

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

Are there any substances involved in this activity that are defined as controlled drugs?

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

Are there any substances involved in this activity that are explosive, flammable or oxidising? (See Q2.2.2e)

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

1.5 OTHER HAZARDS

Are there any other hazards involved with this activity? (e.g. pathogens, GMOs, ionising radiation etc.) If ‘Yes’ have these risks been assessed and any necessary approvals obtained?

| Yes | No | If ‘Yes’ give details and / or reference numbers of related documentation: |
| --- | --- | --- |

2. CONTROL MEASURES

2.1 PREVENTION OF EXPOSURE

2.1.1 Elimination, substitution and procedural change

a) Can any of the substances be eliminated from the process?

| Yes | No | Give details: |
| --- | --- | --- |

b) Can any of the substances be substituted by a safer alternative or a safer form of the same substance?

| Yes | No | Give details: |
| --- | --- | --- |

c) Can the method of work be changed so that the operation giving risk to exposure is no longer necessary?

| Yes | No | Give details: |
| --- | --- | --- |

d) Are measures in place to exclude non-essential personnel from the area?

| Yes | No | Give details: |
| --- | --- | --- |

2.2 CONTROL OF EXPOSURE

2.2.1 Minimising quantities

Can the quantities of the substances stored, used and produced as waste be reduced?

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

2.2.2 Containment and ventilation

a) Can some or all parts of the process be carried out on the open bench with good general ventilation? (if additional containment such as drip trays are required, give details)

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

b) Is a fume cupboard or other form of local exhaust ventilation required for any part of the process?

| Yes | No | If ‘Yes’ give details including type and location: |
| --- | --- | --- |

c) Is the fume cupboard or other form of local exhaust ventilation subject to a maintenance regime?

| Yes | No | N/A | If ‘Yes’ give date of last test and state who is responsible for organising maintenance: |
| --- | --- | --- | --- |

d) Does any part of the process need to be totally enclosed e.g. inside a glove box?

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |
|  |  | If ‘Yes’ describe the maintenance regime of the glove box: |

e) Do measures need to be taken to control sources of ignition?

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

f) Is a chemical spill kit required?

| Yes | No | If ‘Yes’ give details: |
| --- | --- | --- |

2.2.3 Storage and transportation

a) Storage. If relevant, outline the storage arrangements:

| Toxic |  |
| --- | --- |
| Corrosive |  |
| Flammable / Highly Flammable / Extremely Flammable |  |
| Other |  |

b) Transportation on site. Will any of these substances need to be transported to other parts of the building or other parts of the site?

| Yes | No | If ‘Yes’ give details of how containment will be assured: |
| --- | --- | --- |

c) Transportation off site. Will any of these substances need to be transported to other sites?

| Yes | No | If ‘Yes’ give: | Name of other sites: Substance and quantity: Method of transport proposed: Containment precautions: |  |
| --- | --- | --- | --- | --- |

2.2.4 Personal protective equipment (PPE)

| Gloves Type | Eye / face protection Type |  |
| --- | --- | --- |
| Respiratory protection Type | Clothing or footwear (in addition to lab coats) Type |  |
| Respirator filter type: |  |  |
| State which parts of the process PPE is required for (e.g. experimental process or in emergencies only): |  |  |
| If respiratory protection has been identified as required, has the user been face-fit tested? | Yes No | If ‘Yes’, provide date of face-fit test: |
| If respiratory protection is available for emergencies, describe the location, the names of trained users and the procedures for maintenance: |  |  |

2.2.5 Waste disposal

Outline the disposal route for each substance or derivative

Please note - cytotoxic waste has its own specific waste route – please contact your facility manager to arrange.

| Substance | Drain | Specialist waste contractor | Other (specify) |
| --- | --- | --- | --- |

2.2.6 Hygiene measures

Describe the hygiene measures in place for work involving these substances, e.g. handwash facilities, laundering of protective clothing, storage of personal clothing, prohibition of eating and drinking etc.:

2.2.7 Monitoring

Is monitoring necessary to validate the efficacy of control measures for any of these substances?

2.2.8 Information, instruction, training and supervision

Describe the information, instruction, training and supervision requirements for those working with these substances (include details of record keeping):

2.2.9 Lone working

Lone working is not permitted for any activity which involves the use of a substance that presents the risk of rapidly incapacitating a lone worker (e.g. toxic, flammable gases).

Lone working permission:

| Is lone working permitted for this activity? | Yes No |  | If ‘No’, please continue to Section 2.2.10 |  |
| --- | --- | --- | --- | --- |
| Is specific consent required for lone working? | Yes No | If ‘Yes’, describe all specific activities and instances when consent for lone working is required: |  |  |
| Are there any restrictions as to when lone working can take place? | Yes No | If ‘Yes’, describe the restrictions and why these are in place: |  |  |
| Describe additional precautions to be implemented to overt risk to the lone worker (e.g. safe access to facility, safe use of equipment, adequate emergency procedures): |  |  |  | SOP/CoP/Protocol Reference: |

2.2.10 Additional controls

Are there any additional controls required in relation to the process factors identified in Section 1.2 that are not covered anywhere else?

| Process factor | Identified route of exposure | Description of how exposure is controlled |
| --- | --- | --- |
| Weighing |  |  |
| Pipetting |  |  |
| Filtering |  |  |
| Elevated temperature |  |  |
| Shaking / Mixing |  |  |
| Centrifugation |  |  |
| Use of Sharps |  |  |
| High Pressure |  |  |
| Other |  |  |

2.3 EMERGENCY PROCEDURES

Do not cut and paste information on emergency procedures and first aid from the MSDS – it must reflect procedures that are available within the local area (laboratory, building or campus concerned) and be proportional to the extent of exposure anticipated.

2.3.1 Spillage or release

If the spillage involves an unidentified chemical, evacuate the area and contact safety personnel.

Describe the procedures in place for a spillage / release:

Within the laboratory but outside any primary containment facility such as a fume cupboard: Within a fume cupboard (if relevant): Outside the laboratory e.g. en route to another part of the building / site:

2.3.2 First aid

For chemically contaminated needle stick injuries, encourage wound to bleed and wash with plenty of water. If there are any prolonged effects (e.g. inflammation, discolouration, pain) call Security to arrange for immediate transport to hospital and ensure you take the relevant SDS with you.

Describe the local first aid arrangements that are in place for accidental exposure to any of these substances:

| Mains fed eyewash / shower available | Alternative eyewash facilities (describe): |
| --- | --- |

Chemical Weapons Act: http://www.opsi.gov.uk/Acts/acts1996/ukpga_19960006_en_1

Anti-terrorism, Crime and Security Act: http://www.legislation.gov.uk/ukpga/2001/24/contents

Drug Precursors: https://www.imperial.ac.uk/safety/safety-by-topic/laboratory-safety/drug-precursors/