|  |  | Area Clearance and Decontamination Certificate |  |  |
| --- | --- | --- | --- | --- |
| LOCATION OF ROOM or AREA | Department |  | Campus |  |
|  | Building |  | Room |  |
| ***Please complete this section at the head of each page in the event that the individual pages become detached*** |  |  |  |  |

| TO: |  |  |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tel. |  | email |  |
| FROM (PERSON RESPONSIBLE FOR THE AREA): |  |  |  |
| Name |  | Position |  |
| Tel. |  | email |  |
| Description of room / area (e.g. Containment Level 2 Lab, Radiation Lab, Cold Room etc.) |  |  |  |
| PURPOSE OF CLEARANCE AND DECONTAMINATION |  |  |  |
| DECLARATION / SIGNATURE (TO BE COMPLETED BY THE PERSON RESPONSIBLE FOR THE ROOM / AREA) |  |  |  |
| I, the undersigned, confirm that all the details described are correct. NOTE: Final responsibility for compliance rests with the Principal Investigator and ultimately the HoD |  |  |  |
| Name |  | Position |  |
| Tel. |  | e-mail |  |
| Signature |  | Date |  |

ENSURE THAT THE AREA IS SECURED FOLLOWING DECONTAMINATION!

This decontamination certificate will be invalid in the event of evidence indicating that the area may be at risk of re-contamination through being left accessible by unauthorised third parties

| LOCATION OF ROOM or AREA | Department |  | Campus |  |
| --- | --- | --- | --- | --- |
|  | Building |  | Room |  |
| ***Please complete this section at the head of each page in the event that the individual pages become detached*** |  |  |  |  |

| DECONTAMINATION (TICK AND COMPLETE THE APPROPRIATE SECTIONS BELOW) |  |  |  |
| --- | --- | --- | --- |
| 1. | The room / area has not been used for any purposes involving hazardous substances. |  |  |
| 2. | The room / area has been completely cleared of all laboratory equipment, chemicals and hazardous waste and has been left in a clean and safe condition. |  |  |
| 3. | It has been agreed with the relevant party (e.g. Campus Manager) that the equipment listed below can remain within the room / area after vacation. All such equipment has been appropriately decontaminated* and individually labelled with Equipment Decontamination Certificates. *if microbiological safety cabinets are to remain, they must be fumigated and HEPA filters removed and appropriately disposed. |  |  |
|  | Details: |  |  |
| 4. | The remaining fabric, services and fixtures (including fixed items of plant e.g. fume cupboards) may have been exposed to hazardous materials but these have been effectively decontaminated. No special precautions are necessary to protect against contamination when handling the services and fixtures unless specified under 5 below. |  |  |
|  | Possible contaminants: |  |  |
|  | Biological agents or GMOs | Hazardous chemicals |  |
|  | Clinical material | Radioisotopes |  |
|  | Other (specify) |  |  |
|  | Decontamination procedure undertaken: |  |  |
| 5. | Complete decontamination of some aspects of the fabric, services or fixtures cannot be practicably achieved and some residual contamination may remain. |  |  |
|  | Nature of residual contamination: It is advised that the following precautions are observed when handling these items: |  |  |