| Reference No. |  | RSR-17-2023 |  |
| --- | --- | --- | --- |
| Electromagnetic Field (EMF) Exposure Assessment This is the first stage of the assessment required to comply with the The Control of Electromagnetic Fields at Work Regulations (2016). The assessment should be carried for screening purposes to identify practices or equipment where further assessment, action plans and exposure controls may be needed. Action Levels (ALs) and Exposure Limiting Values (ELVs) are given in Parts 2-3 of the Schedule to the Regulations. Action Levels for Indirect Effects are given in Column 2 of Table AL1 and Tables AL5-AL7 on Page 4. Measurement of EMF levels will not be required if information is available from other sources (e.g. manufacturers/suppliers or industry standards or reports), in which case evidence should be cited. |  |  |  |
| Type of Equipment e.g. Magnet, NMR, MRI. |  |  |  |
| Manufacturer/Supplier |  |  |  |
| Model |  |  |  |
| Serial Number |  |  |  |
| Owner |  |  |  |
| Location |  |  |  |
| EMF Frequency (transmitted) |  |  | 0Hz |
| EMF Source Strength (maximum) (A) |  |  |  |
| Location of maximum or accessible field |  |  |  |
| Action Level (Page 4) (B) |  |  |  |
| Does maximum exceed Action Level (i.e. A>B)? |  |  | Yes/No |
| Is access to the area/equipment restricted to authorised personnel? |  |  | Yes/No |
| Have personnel at particular risk been notified/excluded? |  |  | Yes/No |
| Is the equipment exempt from CEMFAW 16 exposure limits? |  |  | Yes/No |
| Is further assessment required? Yes/No | Detail any further assessment requirements: |  |  |
| Assessment completed by: | Name: Date: |  | Contact details: |