Risk Assessment for use of Ultra Violet Radiation (UVR) Sources

| Faculty/Department |  |
| --- | --- |
| Location & Room No. of Laboratory |  |
| Name of Assessor |  |
| Name of Laboratory Manager |  |
| Make and Model of Equipment |  |
| Serial Number of Equipment |  |

| Identify the UVR Hazard(s) (delete as applicable) | Skin and eye injury possible all wavelengths |
| --- | --- |
| UVA (315-400nm) |  |
| UVB (280-315nm) |  |
| UVC (100-280nm) |  |

| What is the nature and magnitude of the risk? |  | Short term (S) /Long term (L)? | Mild (M) /Severe (S)? |
| --- | --- | --- | --- |
| ## Eye | Photo-keratitis / Photo-conjunctivitis | S | S |
|  | Photochemical cataract | L | S |
|  | Other – e.g. possible photochemical retinal damage | L | M |
| ## Skin | Erythema | S | S |
|  | Ageing | L | M |
|  | Photochemical skin reactions | L | M |
|  | Cancer | L | S |

Describe the process or work procedure

Who might be affected by this work?

| Control measures to minimise the UV risk | In Use? (Y/N) | Details |
| --- | --- | --- |
| ## Engineered safeguards (e.g. enclosures, Interlocking doors / shields): | Y/N |  |
| Warning Signs and Labels: | Y/N |  |
| Shielding and PPE | Y/N |  |
| Training and recording | Y/N |  |
| ## Access Control | Y/N |  |
| ## Local Rules (incl. Contingency Plan): | Y/N |  |

| Non–Radiological Hazards | Comments | Control Measures | Actions Required |
| --- | --- | --- | --- |
| Chemical |  |  |  |
| Electrical |  |  |  |
| Biological |  |  |  |
| Fire |  |  |  |
| Other |  |  |  |

Assessor's Additional Comments: This should include an assessment of exposure against the relevant ELV UVA (315-400nm); UVB (280-315nm); UVC (100-280nm). Heff = 30 J/m2. HUVA = 104 J/m2.

| Assessor's Signature | Printed Name | Date |
| --- | --- | --- |

| Reviewer's Signature | Printed Name | Date |
| --- | --- | --- |

Further Notes: To be reviewed within 24 months or earlier in the event of a significant accident or incident.