Safety Department Imperial College London radiation.protection@imperial.ac.uk

Risk Assessment, Regulation 8 of the Ionising Radiations Regulations 2017

| Work Registration Form B Unsealed Radioisotopes | Applicants Own Ref No. |  |
| --- | --- | --- |
|  | Work Registration Number |  |

| Radiation Protection Contacts |  | Mobile | E-mail address |
| --- | --- | --- | --- |
| Ross Manson | RPM / RPA | 07714 051 510 | r.manson@imperial.ac.uk |
| Mark Keeping | RPO | 07725 159 734 | m.keeping@imperial.ac.uk |
| Jon Fear | RPO | 07711 684 746 | j.fear@imperial.ac.uk |

Please fully complete all relevant sections

Please note. Incomplete forms will be returned. This may cause a delay to your work

Part B1 - Ionising Radiations to be used

| 1) The use of alternative (non-radioactive) techniques has been considered. | Yes No |
| --- | --- |
| If “No”, please explain why not. |  |
| 2) The use of alternative radionuclides that are less harmful to the environment has been considered (e.g. P-33 instead of P-32) . | Yes No |
| If “No”, please explain why not. |  |
| 3) The minimum activity necessary to carry out each experiment will be acquired (see part B4). | Yes No |
| If “No”, please explain why not. |  |

| Radioactive Materials | Quantities (MBq) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Radionuclide | S-35 | P-32 | C-14 | H-3 | I-125 | Other: (please state) |
| Maximum activity handled per experiment If the stock activity is diluted to make a “working” solution and/or the activity in the “working” solution is also divided amongst a number of samples, provide details in the protocol attached to the Form A. |  |  |  |  |  |  |
| Maximum activity stored in Laboratory at any one time |  |  |  |  |  |  |
| Approximate activity ordered per month |  |  |  |  |  |  |
| Form of activity (solid, liquid, gas) |  |  |  |  |  |  |
| If liquid, volume of ordered (l) |  |  |  |  |  |  |
| Details of storage location (Campus/Building/Floor/Room) |  |  |  |  |  |  |
| If H-3 use is indicated above, please give details of the scintillation counter used for counting wipe test samples (when checking for H-3 contamination). | Make/Model No: Building located in: Floor: Lab number: |  |  |  |  |  |

| Frequency of the Work |  | How Many Experiments Per Month: |  |
| --- | --- | --- | --- |
| How Many Experiments Per Week: |  | How Many Experiments Per Year: |  |

The Ionising Radiation (Medical Exposure) Regulations 2018 (IR(ME)R) If the radioactive substances are to be administered to humans, give details of the holder of the ARSAC certificate under whose direction the radioactive substance will be administered. Please attach a copy of the certificate and associated paperwork.

| ARSAC Certificate Holder |  | Certificate No. |  |
| --- | --- | --- | --- |
| Signature of Certificate Holder: |  | Type name or print off and sign |  |

| Has the work been approved by the local Research Ethics Committee (Y/N) | Yes No n/a | Give the local Research Ethics Committee approval reference number |  |
| --- | --- | --- | --- |

If this work will involve patients and is not covered by ARSAC approval, please tick here:

Part B2 - Exposure to Ionising Radiation

For the source of ionising radiations, account should be taken of how exposure might occur, please give details below.

| Exposure Factor | Provide details of what will be done and also provide details of any controls that will be used. |
| --- | --- |
| Heating |  |
| Creating volatile substances |  |
| Creating aerosols |  |
| Creating fine powders |  |
| Using pipettes |  |
| Using explosive substances |  |
| Pressurised vessels |  |
| Using centrifuges |  |
| Using needles / Syringes / Sharp objects |  |
| Direct handling |  |
| Exposure to direct radiation |  |
| Exposure to contamination |  |

Part B3 - Radioactive Waste Generation

For this work with ionising radiations, what radioactive waste is created, accumulated and disposed of?

| Radioactive Waste | Estimated Split (% of activity) | Disposal Point | Details of disposal / Mitigation / Controls |
| --- | --- | --- | --- |
| Solid |  |  |  |
| Aqueous liquid |  |  |  |
| Organic liquid |  |  |  |
| Gaseous |  |  |  |

Part B4 - Engineering Controls

For the source of ionising radiations, engineering controls should be used to reduce exposure to as low as reasonably practicable before personal protective equipment is considered. This relates both to use and storage of radioactive material. Please give details below.

| Engineering Control | Location (Campus/Building/Floor/Room) | Description / Test Date / Specification (include equipment serial numbers) |
| --- | --- | --- |
| Fume cupboard |  |  |
| Other local exhaust ventilation |  |  |
| Microbiological Safety Cabinet |  |  |
| Lead shielding (include details of thickness) |  |  |
| Leaded Perspex (usually for I-125 only) |  |  |
| Perspex shielding (include details of thickness) |  |  |
| Other shielding |  |  |
| Stock Storage facility |  |  |
| Waste Storage facility |  |  |
| Other |  |  |

Part B5 - Good Radiological Protection Practice

For the source of ionising radiations, good radiological protection practice should be maintained at all times to reduce exposure before personal protective equipment is considered.

| Good Practice | Description & Other Information |
| --- | --- |
| Reduce source activity / strength (Justify why you need to use and purchase the amounts stated in Part B1) |  |
| Minimise time (what techniques will you use to minimise exposure time) |  |
| Maximise distance (what techniques will you use to maximise your distance from the source) |  |
| Use shielding | See Section (B4) |

Part B6 - Radiation and Contamination Monitoring

For the source of ionising radiations, suitable and sufficient monitoring is required to help ensure exposure is minimised.

| Monitoring | Provide Monitor Details (Monitor Type, Probe Type, Serial Number, Last Calibration Date of Monitor). |
| --- | --- |
| Radiation dose-rate Monitoring Monitor scale will read in Sv hr-1 |  |
| Contamination (direct probe monitoring) This is using a probe to directly monitor surfaces in the laboratory. |  |
| Contamination (smear probe monitoring) This is taking a wipe from laboratory surfaces and then using a probe to monitor the wipe in another (low background) area. |  |
| Contamination (Wipe then LSC) Used for detection of low energy -radiation e.g. when working with H-3 |  |
| Other techniques |  |
| I confirm that I will: - Carry out regular contamination monitoring. - Make a record of the results. | Please tick the box to confirm that you understand that you must carry out routine contamination monitoring and make a record of the results. |

Part B7 - Relevant Training

For the source of ionising radiations, suitable and sufficient training must have been undertaken.

| Training Type | Date of completion (dd/mm/yyyy) and any other relevant details. |
| --- | --- |
| All persons undertaking this work detailed must have undergone prior basic training; please give details below (or attach a separate sheet if necessary). |  |
| Completion of relevant online radiation protection training modules |  |
| Local Induction Training |  |
| RPS training |  |
| Task Specific Training |  |
| Previous training (Outside of Imperial College) |  |

Part B8 - Endorsements

To complete this work registration the endorsement of a number of key personnel with safety responsibility is required. They will be signing up to the following: This work with ionising radiations will be conducted in accordance with this work registration, the local rules of the relevant department, any relevant risk assessments and College Policy & Guidance for work involving ionising radiations. Details can be found on the Safety Department Web Pages at: - Ionising Radiations Policy - https://www.imperial.ac.uk/safety/safety-by-topic/laboratory-safety/ionising-radiation-safety/radiation-safety-policy/ - Ionising Radiations Guidance - http://www.imperial.ac.uk/safety/safety-by-topic/laboratory-safety/ionising-radiation-safety/

| Responsible Person | Name | Signature | Date |
| --- | --- | --- | --- |
| Main contact for this work (see Form A) |  | Type name or print off and sign |  |
| Radiation protection supervisor (RPS) |  | Type name or print off and sign |  |
| Direct supervisor of the work (Principle Investigator) |  | Type name or print off and sign |  |

On completion of this form, please forward to your RPA, RPM or RPO for a radiological risk assessment to be completed.

DO NOT START WORK UNTIL YOU HAVE RECEIVED WRITTEN APPROVAL