Department of Mechanical Engineering

Health and Safety Committee

Wednesday 10th February 2021

at 12:30 pm in ‘Teams’

Minutes

Present:

Professor Mike Lowe (Chair),

Ms Julia Easton (Safety Manager),

Mr Guy Fairhurst (Building Manager)

Mr Phil Wilson (UNITE Rep)

Mr Paul Jobson (Technical Saff Rep)

Mr Eddie Hartrick (Safety Dept Rep)

Dr Catrin Davies (Representative of Post Doc Rep)

Ms Serena Dalrymple (Administrative Staff Rep)

| 1. | Apologies for absence |
| --- | --- |
|  | Margarida Santos (Undergraduate rep) Ricardo Secoli (Post Doc rep) John Field (Fire Safety Rep) |
| 2. | Minutes and Matters Arising from the meeting of 28th October 2020 |
|  | 2.; Minutes and Matters Arising from the meeting of 20th May 2020. - AMT, indicated that he would adopt a policy to the effect that laser goggles are not regarded as an engineering control, in other words goggles are NOT acceptable as the “line of first defence”. He will add the requirement to a risk assessment for alignment as well as the steady state. Action AMT reallocated to JE The laser safety pages on the Department Safety site are the ‘Faculty information’. The structure will ned to be changed to add more information and be Mech Eng specific. JE will review for next time. Though JE had input to the laser safety web page and the laser risk assessment form, they are a faculty page and document. JE to take the discussion back to Alex for resolution AMKPT outlined his concerns around the use of laser safety goggles. Particularly in relation to the visits that have taken place to HE institutions by the HSE, goggles come under special scrutiny associated with their condition, method of storage, and incorrect specification. As we cannot change the Faculty position ourselves, for this Dept we - recommend that goggles are not used as a first line of defence for alignment. - Insist that there is a documented risk assessment for the alignment process, which is distinguishable from the risk assessment for ‘normal operation’. - Inspection records are kept for laser safety eyewear, for which user checks are made before each use and at least every week. The DLSO would like to introduce automated email reminders for weekly laser safety eyewear checks. Alex has been asked how he will communicate /implement. - Yellow Eurobins for disposal of bio waste: Signage is either not clear or not present. Action EH. Labelling is now in hand. The use of the facilities available in Bioengineering is not possible as they are already used to capacity by other departments. MED historically have used this facility, but we have no control of how other users make use of the facility and our human waste became contaminated with other bio waste. This being in breach of the Human Waste Act, MED were severely chastised. JE proposed that Mech Eng have their own yellow bin. JE to liaise in the first instance with Nick Dent, Waste and Recycling Manager with the aim to keep a small locked bin within Stores. Action JE. Nic Dent has been e-mailed twice. He is meeting with JE to discuss this afternoon, (Wednesday 5th June). The Bessemer bins are already used to capacity, and there have been problems historically with using these. JE met with Nic Dent. A HTA collection point within Mech Eng stores has been ruled out on cost grounds; though there are also other issues with siting one here. We produce little waste and the addition of a collection point incurs a minimum charge which is prohibitive for the volume involved. The proposal is for us to have our own lockable facility in Bessemer. There is resistance from Bioengineering who are in disagreement. Julia Cotton is meeting with JE, Ken Keating and Tim Venables from Bioengineering, Nic Dent, Steven Greenwood and Guy Fairhurst 31-10-19 to negotiate. Mech Eng are now to get a small dedicated bin in the Bessemer loading bay. Action to remain until the bin is in place. JE has prompted Nic Dent again, and again. And again 3-2-21 as a small bin has appeared in the Bessemer loading bay – but it is not labelled. Nic has invited me to pursue him after today. From his reply I think it is ours, but needs labelling ( and a lock). - Meeting to be convened to discuss how the CAGB First Aid notices will be arranged. Action JE. No progress From our forum discussion SG has provided information on a system/template available into which you can put a First Aider list such as ours (managed by Serena) and it will generate bespoke notices for each area from the names. It was agreed to take a look at this as we need to follow up on this long-standing action. Concern with moving to specific notices for individual locations is the amount of work for Serena, or whoever wold take it on. However this is supposed to automate the process and not result in more work. JE to evaluate and discuss with relevant parties. No progress New Equipment /New hazards Action SG to provide an update to the policy on battery disposal. Steve Greenwood has approached Nic Dent requesting that a policy for disposal of Lithium ion batteries is put in place. Steve to update next meeting. Action SG Steve has had no response from Nic Dent. Presently damaged batteries are dealt with as hazardous waste, but there needs to be formally documented advice for treatment of all types and condition of batteries. JE has followed up with Nic Dent but has had no response yet.. From the Mech Eng Safety Forum: - The alarm in CAGB 124 Goods in/stores is still not working/audible. Action JE to follow up This will be rectified with the upcoming Fire Safety System upgrade in CAGB - The ongoing issue of the health and safety hazard, and difficulty in accessing the gas store for the RDW laser cutter was also raised. It has agreed that the pavement will be dropped along Unwin Road, but this has been continually postponed. Progress is now halted while the level building project is underway as pavement is obstructed by the contractor compound. Mark Pearce is preparing a PID (Project Initiation Document) which asks for allocation of funds. Quotes have been received; we are awaiting agreement on funding of the work. Action Mark Pearce. Safety training: - The abrasive wheels training course (organised by Steve Greenwood), was scheduled to be hosted in Mech Eng and all Mech Eng technicians had taken the opportunity to sign up for it. This course has had to be postponed due to the Covid 19 shutdown. This needs to be resurrected now Steve has gone. JE to follow up... 12.; Safety Training. - Update on how many have taken the new laser safety course? Since the roll out of the new ‘Introduction to Laser Safety Course’ and the Department’s insistance that all those working in areas where lasers are used should complete this updated version – we should establish how many/ who has completed this. Action AKMPT / SD. 13.; Any Other Business. Steve Greenwood reported that the workflows for the Laser Safety, and General Risk Assessment sharepoint sites will be retired on 1st November 2020. We have been given only two months notice of this. Historic records will still be available. Steve is working to transfer the workflows for the risk assessment form to 2013 workflows. SG to produce a Risk assessment word document reflecting the content of the online form to be used as an alternative and if there are any problems with the availability of the online system. Action SG Action transfer to JE For the laser safety systems we can move to the same system as used in FoNS – Charmian Alvares is the contact. Steve to pursue. Action SG Action transfer to JE. |
| 3. | Accidents, Incidents, Non-compliances |
|  | Battery fire 123 4-11-2020 A destructive test of a proprietary Li-Ion battery pack was performed according to standard procedure. The purpose of the test was to determine whether the thermal runaway of a single cell within the pack would propagate to the other cells. Based on previous testing, the likelihood of propagation was thought to be small, but was planned for nonetheless. Unfortunately, the pack underwent rapid propagation of thermal runaway, causing a number of cells to vent in a short period of time (<30s), and these vented gases then ignited. This fire was contained by the primary combustion chamber around it. Before security attended the lab, they manually set of the fire alarm off via a break-glass point on level 2. The building was evacuated, apart from the attending personnel. The activation of the fire alarm system had disabled the exhaust system. |
| 4. | Inspections and Audits |
|  | - The Head of Department and Safety Manager conducted an inspection of the whole Department on 12-1-21. Very low numbers of people present, and adherence to covid measures was observed to be good. - The head of Departmetn and Safety Manager conducted an inspection of the whole Depatment on 9-2-21. |
| 5. | New Equipment/Research Programmes that may affect others / introduction of new hazards and related safety issues |
| 6. | Building Issues |
|  | - The operation of the gas detection system in 123, 242, 258 is under review to ensure it is reflecting the work being carried out in the area. This is being done in conunction with central safety dept and the installer/maintenance company. - Ppms continue to be accomodated at this time with permits being placed and liaison with lab users so that the elected room occupancy levels are adhered to. - Social distancing and one way signage remains in place. Complaints about face coverings have reduced, - The goods lift will not return to service this term. |
| 7. | New Policies, Procedures and Codes of Practice |
|  | - The Department is expecting all staff and students attending site to take regular tests for Coivid 19. - We are now implementing a stricter policy for people who need to do work within the 2m safe-distance separation, for example co-working on an experimental rig, or face-to-face training on the use of a facility or machine. In such cases it is a requirement that both people are tested in the preceding 48 hours and show a negative test result prior to starting the activity. Such activities for academic staff/RAs/RSs needs to be arranged as part of the regular planning for access to labs, which is overseen by group heads, and via line managers for technical staff. - Stores /Goods in has moved to single person operation. Whilst this is difficult to manage the work and individuals are working longer hours on their days in College, it means that both staff are not exposed to the same threats at the same time. |
| 8. | Fire Safety |
|  | - A comprehensive survey of the Fire detection and alarm system in CAGB has been carried out following concerns raised about the suitability of the existing system over a significant time by the Department; notably the intermittent and unreliable operation of the annunciator system. A PO has been raised to Lloret who are going to carry out extensive remedial works to the fire alarm in accordance with the recommendations made in their report. Jon Ryan from the Fire Office will act as PM and Courtney and I will provide any/all support needed including liaison with building users. The project will commence either week commencing 22nd February or 1st March. The detection and alarm system will remain live throughout the work – and if any interruption to operation is required this will be supplemented alternative arrangements to ensure that no one is put at increased risk. |
| 9. | College Safety Unit Summary |
|  | Copy circulated |
| 10. | Radiation Safety Report (when applicable) |
|  | - Zhusheng Shi will be apointed RPS for 013 (training on Friday 12-2-21). |
| 11. | OH Report |
|  | Copy circulated |
| 12. | Safety Training |
|  | Nothing to report |
| 13. | Any Other Business |
| 14. | Dates of next meetings: 26th May 2021 @12:30 venue tbc |