Thermofluids Safety Handbook and Requirements

Mechanical Engineering Department

#### Imperial College

The conduct of all members of the Department, whether staff, students or visitors, where it concerns the health and safety of themselves or others, is governed by the Health and Safety at Work Act 1974.  All members of the Department are responsible for the health and safety of themselves and everyone else.

1.	HEALTH AND SAFETY

  - Reporting of Accidents and Dangerous Occurrences

  - First Aid Treatment

  - Blood Spillage

  - Eating, Drinking and Smoking in Laboratories

  - Drinking Water

- INDUCTION PROCEDURES FOR NEW MEMBERS OF THE DIVISION

  - Day one

2.2	TF Laboratory Committee

3.	REGULATIONS

  - Registration of Experimental Work

3.1.1	Choice, Purchase and Manufacture of Equipment

3.1.2	Planning, Construction and Testing of Experimental Apparatus

3.1.3	Registration of Experimental Work form

3.1.4	Risk Assessment

3.2	College Safety Regulations

3.2.1	Work involving Lasers

  - Annual Registration of Laboratories, Workshops etc:

Safety Check Certificates

3.4	Control of Substances Hazardous to Health Regulations 1999 (COSHH)

3.4.1	Risk Assessments

3.5	The Pressure Systems and Transportable Gas Containers Regs (1989)

3.6	The Electricity at Work Regulations 1989

3.7	Display Screen Equipment Regulations 1992

3.8	Manual Handling Regulations 1992

3.9	Noise at Work Regulations 1989

  - Provision and Use of Work Equipment Regulations 1998

4.	LABORATORY PRACTICE

4.1	PPE

4.1	Emergency Access to Laboratories

4.2	Housekeeping

4.3	Security

  - Storage of Flammable Liquids

    - Limits of Quantity

    - Type of Storage

    - Where to Store

  - Use of Gas Cylinders

  - Waste Disposal

    - Waste Solvents

    - Waste or Unwanted Chemicals

    - Broken and Waste Glassware

    - Chemical Spillages

  - Overnight Running of Apparatus

  - Working Outside Normal College Hours

  - Instruction in the Use of Fire Extinguishers

  - Reporting of Defects

1.	HEALTH AND SAFETY

1.1	Reporting of Accidents and Dangerous Occurrences

All incidents that are considered dangerous, whether or not these cause injury, must be reported to your Supervisor or the Department’s Safety officer, Ian Wright (Technician Head of Division) as soon as possible after the event.  He will complete the appropriate paperwork and report to the Departmental Head (Professor Peter Cawley).

1.2	First Aid Treatment

During Working Hours:

In the event of a medical emergency, Monday to Friday and during working hours, contact one of the First Aiders/Lifesavers referred to in the most recent list of First Aiders displayed on notice boards in green and under the green heading.

Out of Hours:

Between 18:00 and 08:00 and during weekends, first aid assistance can be obtained by ringing 4444 and also for police, fire and ambulance.

NB:  With mobiles use the full number 020 7589 1000.

4444 is available at any time, but departmental aid will be quicker.

Please state clearly:

- the details of the emergency,

- your exact location,

- your name and

- extension number.

1.3	Blood Spillage:

In the event of a spillage of blood do not attempt to clean it up; contact a first aider who will be aware of the correct procedure.  Spills kit is located in Stores on Level 1, only.

1.4	Eating, Drinking and Smoking in Laboratories

Eating, drinking and smoking in the laboratories and workshops is prohibited.

Smoking is prohibited in the College.

1.5	Drinking Water

There is a special supply for drinking water.  All drinking fountains and taps marked 'Drinking Water' which are situated in most cloakrooms and some corridors, supply potable water.

DO NOT DRINK THE WATER SUPPLIED

TO THE LABORATORIES

### INDUCTION PROCEDURES FOR NEW MEMBERS OF THE DIVISION

Day One Induction for persons entering College premises, so that they have access to basic safety information.  For staff, students and visitors expected to be on site for five days or more, Security will only issue swipe cards on production of a completed, signed Day one checklist.

New students will be Safety Inducted by the Department Safety Officer, Mr Ian Wright or his deputy.

All new students and lab-active RAs are required to attend the Department’s safety course which is usually held in October.

2.1	TF Laboratory Committee

The primary regulator of safety in the Division is the TF Laboratory Committee and, in particular, the Laboratory Managers.  The membership of the Committee is currently as follows:

Professor Alex Taylor		Chairman					47042

Serena Dalrymple		Secretary					47029

Ian Wright			Departmental Safety Officer			47043

and Technician Head of Division

Dr Yannis Hardalupas		Laboratory Manager, 123 Engines Lab	47057

Dr Fred Marquis		Lab Manager, 104, TF Teaching Lab		47040

Dr Guillermo Rein		Lab Manager, 242, Whitelaw Lab		47036

Dr Ben Williams		Lab Equipment Manager			47157

3	REGULATIONS

3.1	Registration of Experimental Work

###### All experimental work must be registered

with the relevant laboratory manager

There are 2 types of registration:

- the construction phase and

- the actual experiments, as detailed in sections 3.1.2 and 3.1.3.

    - Choice, Purchase and Manufacture of Equipment

You are required by law to use equipment that is safe for the use intended only.  The onus is on you to ensure that you comply with this requirement.  If in doubt as to the suitability of the equipment you propose to use, check with your supervisor or with someone with the necessary specialised knowledge.

The following guidelines may assist you.

- Equipment bought from a reputable manufacturer can usually be assumed to be safe to use for the purposes for which the manufacturer intended it.  If you wish to use it for other purposes, first check with the manufacturer as to the advisability of this or, otherwise, with someone with the necessary specialist knowledge, for example, the TDO.

- Equipment formally ordered from workshops within the Department (whether mechanical, electrical etc.) may be assumed to be safe for the purposes specified on the drawings you provide.  They will exercise the necessary quality control to ensure that it conforms to the 'fitness for purpose' requirement.  Note, however, that if they consider the design unsafe, they will refuse to make it.

- Equipment made either by other workshops, or technicians working in their own time or by small outside jobbing firms should be assumed not to have received the necessary quality control and should not be assumed to be safe without further investigation.  It is your responsibility and your supervisor’s to ensure that this investigation is carried out.

All registration forms and COSHH forms are available in the Laboratories

    - Planning, construction and testing of experimental apparatus –

##### Pre-Registration of Experimental Work Form

Pre-registration with the laboratory manager of experimental work is necessary where apparatus is being constructed.  Information must be provided concerning the planned construction phase and the intended experiments.  Sufficient detail is required from the THOD concerning the proposed work to enable the laboratory manager and in certain cases the DSO to decide whether a referee is needed to give advice.

If hazardous substances will be used during the construction phase then a COSHH Risk Assessment Form must be completed.

3.1.3	Registration of Experimental Work Form

Work on completed rigs or experimental work using existing rigs or commercial equipment must be registered with the laboratory manager using a “Registration form”.  Registrations are valid for a maximum of three years.  “COSHH forms” must be done each time the experimental work changes.

Details must be given of the hazards, e.g. electrical, pressure, and flammable solvents, which might be encountered.  A competent member of staff must, for safety purposes, referee the experiment.  It will then be inspected by the THOS who may recommend changes that are considered necessary to improve the safety of the experiment.   Both the research worker(s) and the supervisor must sign the document and the supervisor must ensure that the research worker has had relevant safety instruction and information.

The registration is complete only when the Registration of Experimental Work form has been sent to the THOD, Ian Wright and the Laboratory Manager.

3.1.4	RISK Assessment – to be included

3.2	College Safety Regulations

The College Safety Policy covers all areas of health and safety that might affect those that work or study in the College.  Associated with the Safety Policy are Codes of Practice which detail the restrictions and requirements which research workers must obey when working with lasers, radiation or biological materials, amongst other things.  Full details can be obtained by reading the relevant Codes of Practice, which can be found in the College Health and Safety website available on Imperial College SPECTRUM.  (https://www.imperial.ac.uk/spectrum/safety/policies/index.htm).

    - Work involving Lasers

All lasers must be registered and the Head of Department must approve all laser users.  Any work involving the use of lasers is governed by the College Laser Code of Practice (refer to the Imperial College Spectrum website, Policy Document PC-15) and must be registered with the Departmental Laser Safety Supervisor, Professor A M Taylor, room 602, extension 47042, email a.m.taylor@ic.ac.uk.  It is a College requirement that the “Introduction to laser Safety course” must be attended by all registered laser users and other staff members who work with lasers who have not attended a similar course.  Please speak to your supervisor.

3.3	Annual Registration of Laboratories, Workshops, etc.:

Safety Check Certificates

The DSO, in addition to the TF Laboratory Managers and TF Head of Division, carry out spot checks on all parts of the Department each term.  Some faults are correctable on site, whilst others require notification to TFHOD.  Where necessary the DSO will apply a ‘Stop Notice’ with 7 days to correct the fault.

All laboratories, workshops, terminal rooms, lecture theatres and multiple occupancy rooms must be registered using the “Safety Check Certificate”.  The Certificate is used as a method of ensuring that the standards of safety within an area are regularly reviewed.  All equipment must be electrically tested, all experiments must be registered with the laboratory manager and all COSHH assessments must be up-to-date.  Guidance on good housekeeping practices is included and information must be given about types of fume cupboards, warning signs and the protective clothing that is available.

Failure to rectify any faults can result in the area being closed by the Laboratory Manager until the relevant modifications have been carried out.

Safety Check Certificates are available from your Supervisor.

3.4	Control of Substances Hazardous to Health Regulations 1999 (COSHH)

The COSHH Regulations 1999 are concerned with the control of exposure to substances in the workplace, which are deemed hazardous to health.  The regulations require, amongst other things, that risk assessments be carried out on any hazardous substance before it is used in any job or activity.  Risk assessments must be renewed annually or whenever the risk changes, whichever is the shorter period.   The Department and TF Division require all COSHH assessments to be renewed at the end of each calendar year.

Guidance on how to carry out risk assessments is given by the Imperial College Safety Department's booklet (1999).  https://www.imperial.ac.uk/spectrum/safety/contacts/index.htm.

A copy of which is available for consultation in with the DSO.

Substances that are covered by the regulations are:

1)	All substances specified by the Chemicals (Hazard Information and Packaging for Supply) Regulations 1994 (CHIPS) as dangerous to supply, i.e. very toxic, toxic, harmful, corrosive or irritant.

2)	Any substance for which the Health and Safety Commission (HSC) has approved a Maximum Exposure Limit (MEL) or Occupational Exposure Standard (OES). MEL and OES values are listed in the current edition of "EH40 - Occupational Exposure Limits". An MEL must not be exceeded under any circumstances.

3)	Biological agents.

4)	Dust, of any kind, in sufficient quantities.

5)	Any substance not included above but which is considered to be hazardous to health.

A substance that is hazardous solely because it is flammable, explosive or asphyxiate is not required to be assessed under COSHH, but see note 4.4 below.

3.4.1	 Project Risk Assessments

If any experimental work is to be carried out in the laboratories or workshops, a Project Risk Assessment must be completed.  Once completed the risk assessment must be approved and signed by the supervisor in charge of the project and by the appropriate laboratory manager. Each user must sign to indicate that they have read and understood the risk assessment before they can carry out the task. Failure to do so is in breach of health and safety practices.

College policy is that you must undertake the following five-step process to help meet this requirement.

Step 1: Identify hazards

Step 2: Decide who might be harmed and how

Step 3: Evaluate the risks

Step 4: Record your findings and implement them

Step 5: Review - and revise your assessment if necessary

If a hazard is simple, the risk assessment can be brief.

If a hazard or hazardous activity is complex, the risk assessment must reflect this.

A risk assessment must be proportionate to the risk it is assessing.

You must use the College form where the policy stipulates it (for example for Genetic Modification, biosafety and radiation); it is good practice to use the College forms where they exist e.g. Gasses and Cryogenics, COSHH (Control of Substances Hazardous to Health).

http://www3.imperial.ac.uk/safety/formsandchecklists/raforms1

All persons conducting risk assessments must have attended and passed the RAFT course; they must fully understand the hazards, risks, controls - and limitations of such controls - of the item, area or process they are assessing.  If they do not have this understanding (for example if the duty of conducting the risk assessment has been delegated to a researcher), then their line manager or supervisor must check and authorise the risk assessment once it is complete.

Risk assessors must also have practical knowledge of the activities being assessed.  This practical knowledge is best obtained by detailed consultation - and sometimes observing - those who carry out the tasks.  This is particularly important where there are several persons involved as there will be a variety of ergonomic, supervisory, and experience-related considerations (amongst other things).

A copy of the Risk Assessment should be kept at the workplace and a copy kept by the relevant Technician Head (Electronically).

Risk assessments should be reviewed because of staff/student turn-over, changes to location, process, area, materials used, scale, control measures etc.

Risk assessments must be reviewed immediately in the event of a near miss, loss of control, work-related ill-health, fire or accident.

All Risk assessment with a classification of High or Very High should be reviewed at least annually.

All Risk assessment with a classification of Medium or Low should be reviewed at least bi-annually.

July 2011-07-06

Ian Wright

3.5	The Pressure Systems & Transportable Gas Containers Regs. (1989)

These regulations govern the use of all pressurised equipment with the exception of certain low-hazard situations.  The regulations apply to:

- Any vessel that is constructed with a permanent outlet to the atmosphere and which could become a pressure vessel if that outlet were obstructed.

- Any system of pipework containing steam (at any pressure).

- Any pressurised system of pipework containing a "relevant fluid".  A relevant fluid is defined as:

a)	a gas at a pressure in excess of 0.5 bar above atmospheric pressure.

b)	a liquid which would have a vapour pressure greater than 0.5 bar above atmospheric pressure when in equilibrium with its vapour at either the actual temperatures of the liquid or 17.5 Celsius.

c)	a gas dissolved under pressure in a solvent contained in a porous substance at ambient temperature, which could be released from the solvent without application of heat.

Note that a pressurised system containing only hydraulic or a similar liquid is exempt from the regulations whatever the pressure.  The regulations are concerned only with gaseous, or at least partly gaseous, systems.

If your pressurised system will contain (a) steam or (b) have a product of pressure (in bars above atmospheric) and volume (in litres) exceeding 250 bar litre, you must consult the THOD, Mr Ian Wright, who will arrange for the relevant vessels to be tested and recorded.

Please refer to Imperial College SPECTRUM website Guidance Note 027: Safe Handling, Use and Storage of Compressed Gases (January 2002).

Connecting Gas regulators and Manual Handling of Cylinders All staff or postgraduate students whose activities involve working with gas cylinders and regulators in a laboratory environment should attend this course.  To book, please speak to your supervisor.

3.6	The Electricity at Work Regulations 1989

All electrical equipment and plant in the Department is subject to regular testing and inspection as required by the Electricity at Work Regulations 1989.  Details of Imperial’s Guidance Note 019: Electrical Testing – PAT (January 2001) is available on the Imperial College SPECTRUM website, Health and Safety.

Electrical equipment in laboratories and other areas covered by a Laboratory Safety Check Certificate is normally inspected annually.  All portable equipment, e.g. drills, must be tested every six months.

Electrical equipment in all other areas in the Department, e.g. offices, which are not subject to an annual safety inspection, will be tested by arrangement between

Mr Lee Roy Grey, the Department’s Electrical Tester and the Technician Head of Division.  An Electrical Testing Certificate will be completed.

Testing equipment and advice can be obtained from the Electronics Workshop (Asanka Munsinghe) for the TF Division and Lee Roy Grey centrally for Mechanical Engineering).  The responsibility for ensuring that the annual departmental check has taken place, lies with:

1.	Laboratory Managers - for laboratories.

- Heads of Services - for those areas for which they are responsible.

3.	Academic Staff - for their offices and those of their students and RAs.

  - Display Screen Equipment Regulations 1992

These Regulations require employers to carry out assessments of the risks to the health and safety of designated users of display screen equipment as a consequence of using such equipment.  Mr Ian Wright (Acting), Display Screen Co-ordinator will inspect and make recommendations.  'Users' are entitled to free eye and eyesight tests, on request, and free spectacles, if required.

More information is available on the Imperial College SPECTRUM website, VDU’s Health and Safety  - A Short Guide for Staff and Students.

3.8	Manual Handling Regulations 1992

The aim of these Regulations is to reduce the amount of damage caused to people at work by incorrect manual handling.  Before carrying out manual handling, task assessments should be made and, if possible, mechanical handling equipment should be used instead.  From October 2002 students will cease to be allowed to collect their own gas bottles.

More information is available on the Imperial College SPECTRUM website, Health and Safety - A Short Guide for Staff and Students, Workplace safety, Lifting and manual handling and Guidance Note 020: Summary of Health and Safety Legislation.

3.9	Noise at Work Regulations 1989

These Regulations are designed to ensure that any excessive noise is controlled and that workers wear suitable personal protective equipment above certain noise levels.

If you believe that the environment in which you are working is excessively noisy, contact the THOD who will arrange to have a sound survey carried out.

Consult the Central Library for the HSC 1989 Regulations, Approved Code of Practice/Health and Safety Commission.

More information is available on the Imperial College SPECTRUM website, Health and Safety - A Short Guide for Staff and Students and Guidance Note 020: Summary of Health and Safety Legislation.

  - Provision and Use of Work Equipment Regulations 1998

These regulations are aimed at safeguarding the health and safety of employees from hazards arising from the provision and use of work equipment.  Training is given in the safe use and maintenance of equipment and what do if things go wrong.  Suitable guarding for mechanical hazards and protection against other dangers are in use.  Ian Wright, Technician Head of Division, can advise on individual lab problems to do with the guarding of machinery.  Refer to the Imperial College SPECTRUM website, Health and Safety – a Short Guide for Staff and Students, Machinery and Guidance Note 020: Summary of Health and Safety Legislation.

# 4	LABORATORY PRACTICE

  - Always wear protective clothing/eye protection.

  - “Housekeeping”

A tidy laboratory is much safer than one full of clutter; good housekeeping is essential for a safe environment. Keep passageways clear. Fire doors should not be locked, bolted or obstructed.  Electrical cables should be off the floor, and cable ducting should be used where necessary.

No person may carry out hazardous work in a laboratory

without  a second person being present.

  - Security

Regrettably thefts do occur in College from time to time.  Please do not bring valuables to College if at all possible.  Always make sure your room is locked when you leave it, even for a short time and restrict access to those working in the lab.  Lock away wallets, handbags etc if you are leaving your room.

  - Storage of Flammable Liquids

There are legal requirements governing the storage of flammable liquids; some of the more important points are as follows:

    - Limits of Quantity

The COSHH assessments restrict amount of flammable liquids kept in store.  The cost of the disposal of excess liquids will be met by the Division and this is considerable.  Any operations involving the storage or use of large quantities of flammable liquids should be discussed with the Technical Head of Division.

Large quantities of solvents should be kept in the Solvent Store.

    - Type of Storage

By law containers of flammable liquids of greater than 500 ml capacity must be stored in approved, fire resisting storage cabinets or cupboards when not in use.  The cupboard should be suitably labelled.  Signage is examined by College Safety Unit, Ian Gillett, in general.  Flammable liquids may be stored in fume cupboards only if they are contained in a suitable steel cabinet.

    - Where to Store

Flammable liquid storage cabinets should not be sited in those parts of the laboratory where there is a high rate of movement of personnel.  They should also be sited away from gas cylinders and ignition sources, e.g. naked flames and high temperature surfaces.

All flammable substances should be kept apart from oxidising agents.

  - Use of Gas Cylinders

All cylinders should be secured, individually, to a rigid support using an appropriate clamp.  Always keep the number of gas cylinders in the laboratory to a minimum and return empty or unwanted cylinders to the Stores.

Keep cylinders away from stocks of flammable liquids and ignition sources.

Do not clamp cylinders to the front of a fume-cupboard as they restrict the airflow, invalidating the classification of the cupboard.

After use, always close the valves and depressurise the regulator.  Be especially careful when using oxygen cylinders and make sure that the regulator is in the unpressurised position before opening the cylinder valve.  Several explosions have occurred as a result of perforation of the regulator diaphragm, when opening oxygen cylinders with the regulator in the pressurised position.

Please refer to Imperial College SPECTRUM website Guidance Note 027: Safe Handling, Use and Storage of Compressed Gases (January 2002).   Refer also to the British Oxygen Company's book "Safe under Pressure", which is available in the Imperial College Central Library.

  - Waste Disposal

NO CHEMICALS MAY BE PUT INTO THE DRAINS OR PLACED IN THE DOMESTIC WASTE BINS.

It is ILLEGAL to dispose of organic solvents down the drains.

    - Waste Solvents

Waste solvents should be stored in special polythene containers marked either "Chlorinated" or "Non-Chlorinated".  Empty containers can be obtained from the Departmental Stores.  When full, the containers should be returned to the Stores where arrangements for their disposal will be made.  Waste solvents mixed with more than 10% water or acid should be stored in glass Winchesters.

    - Waste or Unwanted Chemicals

These should be given to the Technician Head of Division who will arrange for them to be put in the Departmental Chemical Store or for their safe disposal.

    - Broken and Waste Glassware

DO NOT PUT GLASS OR SYRINGE NEEDLES IN THE DOMESTIC WASTE BINS.

'Sharps' i.e. syringes, scalpel blades, glassware that cannot be cleaned etc., must be put in special waste containers that can be obtained from the Stores.  Clean, broken glass may be placed in a labelled box and left for the cleaners to take for re-cycling.

4.6.4.	Chemical Spillages

In the event of a chemical spillage contact Technical Head of Division, Ian Wright, 47043.

ALL MERCURY SPILLAGES MUST BE DEALT WITH BY

LABORATORY TECHNICAL SERVICES.

  - Overnight Running of Apparatus

Any experiment or piece of apparatus that is left running overnight must be notified to the Technical Services Manager.

An 'Overnight Running' notice must be displayed near the apparatus indicating the shutdown procedure.  Blank notices can be obtained from the Technician Head of Division, Ian Wright, who will pass it to Security for the attention of the shift engineer.

  - Working Outside Normal College Hours

Laboratories are open for use from 08.30 to 17.00 Monday to Friday during normal College open dates.  The “Building and Laboratory Access” doc on the safety website.  http://www3.imperial.ac.uk/mechanicalengineering/intranet/safety.

NO ONE MAY CARRY OUT EXPERIMENTAL WORK ALONE UNLESS THE WORK HAS BEEN DECLARED NON-HAZARDOUS BY HIS OR HER SUPERVISOR.

Someone else must be present in the same laboratory.

For Lone Out of Hours Working Basic Guidelines, refer to the Imperial College SPECTRUM website, Health and Safety – A Short Guide for Staff and Students, Working alone and Guidance Note 023: Lone Working (June 2001).

Only personnel with a valid security pass, 'swipe card', may enter or leave the Department out of hours.

Access is available from 07.00 to 18.30 Monday to Friday.  Outside these times and at weekends, access to the Department is via a swipe card.  Everyone must leave the building by 23.00 hrs.

College Closure Periods: During the College closure periods at Christmas and Easter access is only allowed to members of the Department with a valid security pass.

No experimental work is allowed during College closure periods

without the permission of the Head of Department

  - Instruction in the Use of Fire Extinguishers

All laboratory staff are required to attend fire safety training.

Unless the fire can be extinguished within seconds using a hand held extinguisher and without personal risk, locate the nearest fire alarm call point, break the glass and activate the fire alarm.

Inform the receptionist on the main desk, at the Imperial College main entrance or dial 4444 on the internal telephone and Sherfield control will get assistance.

NB:  With mobiles use the full number 020 7589 1000.

  - Reporting of Defects

Any building defects, e.g. broken lights, dangerous ceiling tiles, defective fume cupboards, dangerous floors, etc., should be reported immediately to the Technician Head of Division or direct to the Facilities Management Customer Services Centre on extension 48000 or fm.csc@imperial.ac.uk.  The FM Customer Services Centre service is for building defects only and not rig defects.

January 2003

Revision 1:  June 2006

Revision 2:  June 2011

Revision 3:  April 2015