## Wide-field time-gated FLIM
| Item | Supplier |  | Qty | Information
Ultrafast excitation source
| Pulse-picked supercontinuum laser | NKT Photonics | SuperK Fianium FIU-15 PP | 1 | https://www.nktphotonics.com/lasers-fibers/product/superk-fianium-supercontinuum-lasers/
Spectral selection and optical power control
| Tunable filter | NKT Photonics | SuperK Varia | 1 | https://www.nktphotonics.com/lasers-fibers/product/superk-varia-tunable-single-line-filter/
or
| Optical breadboard, 30x60mm | Thorlabs | MBH3060/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=MBH3060/M
| Beam dump | Thorlabs | BT610/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=BT610/M
| Filterwheel | Thorlabs | FW102C | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=FW102C
| 30mm Universal postholder | Thorlabs | UPH30/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=UPH30/M
| 30mm 1/2" optical post | Thorlabs | TR30/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=TR30/M
| Reflective ND 0.1 filter | Thorlabs | ND01A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND01A
| Reflective ND 0.2 filter | Thorlabs | ND02A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND02A
| Reflective ND 1.0 filter | Thorlabs | ND10A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND10A
| Reflective ND 2.0 filter | Thorlabs | ND20A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND20A
Excitation light path for wide-field epifluorescence microscopy
| 75mm Universal postholder | Thorlabs | UPH75/M | 2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=UPH150/M
| 75mm 1/2" optical post | Thorlabs | TR150/M | 2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR150/M
| FC/PC Multimode collimator | Thorlabs | F950FC-A | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=F950FC-A
| SM1 to 15mm bore adapter | Thorlabs | AD15F | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=AD15F
| Lens tube mount - SM1 | Thorlabs | SM1TC | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1TC
| Lens tube mount - SM30 | Thorlabs | SM30TC | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM30TC
| Cage system U-bench | Thorlabs | CBB1/M | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=CBB1/M
| Engineered diffuser, circular top-hat, 1", 20 degrees | Thorlabs | ED1-C20-MD | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=ED1-C20-MD
| Collimating lens [45mm] | Thorlabs | AC254-045-A | 2 | https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-045-A
| Lens tube | Thorlabs | SM1L15 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1L15
| Slotted lens tube | Thorlabs | SM1L20C | 2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1L20C
| SM1-SM1 coupler | Thorlabs | SM1T2 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1T2
| SM1 to SM30 adapter | Thorlabs | SM1A16 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1A16
| SM30 lens tube | Thorlabs | SM30L30 | 2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM30L30
| SM30 lens tube | Thorlabs | SM30L10 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM30L10
| 30mm diameter achromat [150mm] lens | Edmund Optics | #32-502 | 1 | https://www.edmundoptics.co.uk/p/30mm-dia-x-150mm-fl-mgfsub2sub-coated-achromatic-doublet-lens/2381/
| Motor to spin diffuser | unspecified
| Bearing for diffuser | unspecified
| Belt to couple motor and diffuser | unspecified
| Shielding for open section | unspecified
FLIM system
| High Rate Imager | Kentech Instruments |  | 1 | http://kentech.co.uk/index.html?/hri.html&2
| Delay generator | Kentech Instruments |  | 1 | http://www.kentech.co.uk/index.html?/NewProducts.html&2
| Relay lens 35mm Nikon | Nikon |  | 1 | https://www.nikon.co.uk/en_GB/product/nikkor-lenses/auto-focus-lenses/dx/single-focal-length/af-s-dx-nikkor-35mm-f-1-8g
| Relay lens 50mm Nikon | Nikon |  | 1 | https://www.nikon.co.uk/en_GB/product/nikkor-lenses/auto-focus-lenses/fx/single-focal-length/af-nikkor-50mm-f-1-8d
| C-mount to F-mount lens adapter | Edmund Optics |  | 2 | https://www.edmundoptics.co.uk/p/c-mount-nikon-f-mount-camera-lens-adapter/11135/
| Lens coupling ring | SRB photographic |  | 1 | https://www.srb-photographic.co.uk/55mm-to-55mm-coupling-ring-8081-p.asp
| High speed amplifier | Laser Components |  | 1
| 50 Ohm 90MHz low pass filter | Mini-circuits |  | 1 | https://www.minicircuits.com/WebStore/dashboard.html?model=BLP-90%2B
| Readout camera | Teledyne Qimaging |  | 1 | https://www.photometrics.com/wp-content/uploads/2020/05/Retiga-R1-datasheet.pdf
| Microscope frame, objective etc | unspecified |  | 1
| BNC cables | unspecified |  | 6
| BNC T-piece | unspecified |  | 1
| Oscilloscope, >100MHz bandwidth | unspecified |  | 1 | needed to set up FLIM detection system

## Nipkow disc FLIM
| Item | Supplier |  | Qty | Information
Ultrafast excitation source
| Pulse-picked supercontinuum laser | NKT Photonics | SuperK Fianium FIU-15 PP | 1 | https://www.nktphotonics.com/lasers-fibers/product/superk-fianium-supercontinuum-lasers/
Spectral selection and optical power control
| Tunable filter | NKT Photonics | SuperK Varia | 1 | https://www.nktphotonics.com/lasers-fibers/product/superk-varia-tunable-single-line-filter/
or
| Optical breadboard, 30x60mm | Thorlabs | MBH3060/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=MBH3060/M
| 75mm Universal postholder | Thorlabs | UPH75/M | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=UPH75/M#ad-image-0
| 75mm 1/2" optical post | Thorlabs | TR75/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=TR75/M
| Beam dump | Thorlabs | BT610/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=BT610/M
| Filterwheel | Thorlabs | FW102C | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=FW102C
| 30mm Universal postholder | Thorlabs | UPH30/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=UPH30/M
| 30mm 1/2" optical post | Thorlabs | TR30/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=TR30/M
| Reflective ND 0.1 filter | Thorlabs | ND01A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND01A
| Reflective ND 0.2 filter | Thorlabs | ND02A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND02A
| Reflective ND 1.0 filter | Thorlabs | ND10A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND10A
| Reflective ND 2.0 filter | Thorlabs | ND20A | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ND20A
| 1" Metal disk for blocking laser | unspecified
| Shielding | unspecified
Excitation light path for Niplow spinning disc microscopy: fibre coupling
| Kinematic mirror mount with broadband dielectric mirror | Thorlabs | KM100-E02 | 2 | https://www.thorlabs.de/thorproduct.cfm?partnumber=KM100-E02
| 75mm Universal postholder | Thorlabs | UPH75/M | 5 | https://www.thorlabs.com/thorproduct.cfm?partnumber=UPH75/M#ad-image-0
| 75mm 1/2" optical post | Thorlabs | TR75/M | 5 | https://www.thorlabs.de/thorproduct.cfm?partnumber=TR75/M
| Electronic shutter | Thorlabs | SHB1T | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=SHB1T
| Shutter mounting adapter | Thorlabs | SHM1/M | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SHM1/M
| Post mounted iris | Thorlabs | ID12/M | 2 | https://www.thorlabs.de/thorproduct.cfm?partnumber=ID12
| 3-axis stage | Thorlabs | MBT613D/M | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=MBT613D/M
| 10x 0.25NA Infinity corrected objective lens | Thorlabs | RMS10X | 1 | https://www.thorlabs.de/thorproduct.cfm?partnumber=RMS10X
| Polarisation-maintaining single mode angled optical fibre fibre | Oz Optics | QPMJ-3AF3S-405/640-3.5/125-5AS-3-1-SP |  | replacement for fibre supplied with Yokogawa CSU-X
| Shielding | unspecified
FLIM system
| Nipkow disk unit for optical sectioning (requires fibre-coupled input) |  | CSU-X1 | 1
| High Rate Imager | Kentech Instruments | HRI-S | 1 | http://kentech.co.uk/index.html?/hri.html&2
| Delay generator | Kentech Instruments | HDG800 | 1 | http://www.kentech.co.uk/index.html?/NewProducts.html&2
| Relay lens 35mm Nikon | Nikon | AF-S DX NIKKOR 35mm f/1.8G | 1 | https://www.nikon.co.uk/en_GB/product/nikkor-lenses/auto-focus-lenses/dx/single-focal-length/af-s-dx-nikkor-35mm-f-1-8g
| Relay lens 50mm Nikon | Nikon | AF Nikkor 50mm f/1.8D | 1 | https://www.nikon.co.uk/en_GB/product/nikkor-lenses/auto-focus-lenses/fx/single-focal-length/af-nikkor-50mm-f-1-8d
| C-mount to F-mount lens adapter | Edmund Optics | 54-341 | 2 | https://www.edmundoptics.co.uk/p/c-mount-nikon-f-mount-camera-lens-adapter/11135/
| Lens coupling ring | SRB photographic | SRBC5555 | 1 | https://www.srb-photographic.co.uk/55mm-to-55mm-coupling-ring-8081-p.asp
| High speed amplifier | Laser Components | Femto HAS-X-2-40 | 1
| 50 Ohm 90MHz low pass filter | Mini-circuits | BLP90+ | 1 | https://www.minicircuits.com/WebStore/dashboard.html?model=BLP-90%2B
| Readout camera | Teledyne Qimaging | Retiga R1 | 1 | https://www.photometrics.com/wp-content/uploads/2020/05/Retiga-R1-datasheet.pdf
| Microscope frame, objective etc | unspecified |  | 1
| BNC cables | unspecified |  | 6
| BNC T-piece | unspecified |  | 1
| Oscilloscope, >100MHz bandwidth | unspecified |  | 1 | needed to set up FLIM detection system